Microsoft Office User

Complete all areas in RED, Add or Subtract from the Controls as appropriate and complete Residual Risk Score

SAFE WORK METHOD STATEMENT

Member Company Name

| Safe Work Method Statement: | Insert name of project here |
| --- | --- |
| General Work Location: | Insert location/address here |

Note: Revision is required no later than 12 months from the most recent revision date

| REV | DATE | DESCRIPTION |  | Developed | Checked | Approved |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | New Document | Name: |  |  |  |
|  |  |  | Name: |  |  |  |
|  |  |  | Name: |  |  |  |
|  |  |  | Name: |  |  |  |

| Applicable OHS Legislation | Minimum License/Competency requirements for Task | Applicable Hazard Control Standards for Task The following directives, procedures, codes of practice and Australian standards were reviewed in the development of this SWMS |
| --- | --- | --- |
| Work Health & Safety Act 2015 | Electrical registration and current practicing licence | AS/NZS 4836:2011 Safe Working on or Near low- voltage electrical installations and equipment |
| Work Health & Safety Regulations 2016 | Mobile plant operators must hold the relevant licence and verification of competency | AS/NZS 3000 Electrical Installations |
| Electricity Act 1992 |  | ECP 34 ELECTRICAL SAFE DISTANCES |
| Electricity Regulations 2010 |  |  |

| Preceding Works & Requirements |  |  |
| --- | --- | --- |
| This section is to be used to specify any processes and/or standard requirements prior to conducting the activity and does not need to be repeated in the main body of the SWMS |  |  |
| All persons must report Fit for Work e.g.;- Not affected by Drugs (includes prescription medication), Alcohol or Fatigue |  |  |
| SWMS addressing the task and worksite hazards must be completed and signed by all personnel before work commences |  |  |
| Worksite traffic risks must be identified, assessed and controlled via SWMS/ JSA or equivalent traffic guidance scheme |  |  |
| A pre-start inspection must be completed on all items of mobile plant prior to first use each shift (log book) – All plant / equipment must be fit for purpose prior to use |  |  |
| Standard PPE to be worn for all steps included in this SWMS. This includes; hard hat / safety footwear / hi-vis long sleeve clothing / long pants / safety glasses / task suitable gloves |  |  |
| The following specialised equipment / emergency provisions must be readily accessible at the worksite prior to commencement: |  |  |
| - Dry chemical fire extinguisher (if applicable) | - First aid kit and minimum 1 trained first aider per 25 workers at the worksite. | - Barricades & signage. |
| - Communication devices (Tablet, Phone, Radio etc.).. |  |  |
| Monitoring and Review of Risk Controls |  |  |
| - Pre-start meeting conducted with work crew prior to commencement of each shift. | - JSA/TA prepared prior to commencement of high-risk task. JSA/TA reviewed daily by work crew and immediately following any change impacting HSE. | - Communication of relevant Safety Alerts from industry. |
| - Regular WHS Inspections & Safety Conversations conducted by Line Management. | - Incident Reports | - SWMS reviewed on a minimum annual basis or following any material change to the task or risks. |
| - Revision of SWMS upon change of legislation, codes of practice, guidelines & standards. | - Hazard identification processes including Hazard reports and audits. | - Personal Take 5 Assessments. |

| ACTIVITY - JOB STEP |  | HAZARDS | RISK | CONTROL MEASURES: 1: Eliminate Hazards, 2: Substitution (Use a less hazardous method), 3: Isolation (Isolate the worker from the Hazard), 4: Engineering (Change the design of the workplace), 5: Administration (Signage, Training etc.), 6: PPE (Use as a last line of defense) | Residual Risk Score |  |  | RESPONSIBLE PERSON |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | C | L | RR |  |
| 1 | Pre Start Labour Selection | Inexperienced personnel | Fatality Physical Injury Property Damage | - All personnel to be trained, competent or supervised for the task before commencing on site. - Powered mobile plant operators must hold the relevant licence and verification of competency. - Work area to be inspected to identify energised electrical sources. |  |  |  |  |
| 2 | Pre Start Select Plant/Equipment for Task | Plant/equipment used for task not suitable On site plant/equipment breakdown | Fatality Physical Injury Property Damage Environmental Harm | - Selection of appropriate plant/equipment for task. - Plant and equipment to be used in accordance with manufacturers recommendations/specifications. - Defective plant/equipment to be tagged out of service and reported. - Safety checklist (pre-start) to be completed before operating machinery or plant - Servicing/maintenance of plant and equipment as per manufacturer’s specifications. - Current test/tag for electrical powered tools. - Electrical powered tools shall be Residual Current Device (RCD) protected |  |  |  |  |
| 3 | Working Near Energised Electrical Installations | Electrical energy | Fatality Physical Injury Property Damage | - lock-out/tag out where possible and confirm de-energised state using the Prove-test-prove method - Exclusion zones and to be established by an authorised person when working near hazardous energy sources. - Conductive ladders and scaffolds shall not be used in close proximity to electrical equipment or services. - Tools and equipment shall be non-conductive or insulated when working near exposed energised parts. - Metallic personal items (watches, jewelry, metal spectacle frames etc.) shall not be worn near exposed energised parts. - Insulating mats and that are used to separate workers from adjacent energised electrical equipment and shall comply with Australian Standard (AS/NZS 2978-1995). Physical safety barriers used to separate workers from adjacent energised electrical equipment shall be made of a non-conductive material (wood, plastic etc.). |  |  |  |  |

| 4 | Pack up / Leave site | Unauthorised use of plant and equipment Poor housekeeping | Physical Injury Fatality Environmental Harm Property damage | - Ensure all plant and equipment are secured at the end of each day. - Remove keys and activate isolation switches (if applicable). - Inspect for any damaged equipment / report all damaged equipment to supervisor. - All waste to be removed from site and disposed of correctly in waste bins. - Ensure all plant / equipment is secure and parked safely. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

\